## Sheet1
Device Address 7
Modbus Setting / Holding Regs
Sr. No. | Name | Data Type | Address
1 | TestType | int16 | 0x40001 | 1. Tensile | 2. Compression
2 | LoadCellNumber | int16 | 0x40002
3 | SampleLength | float | 0x40003 | Fuction Code =4 |  | Read /Write
4 |  |  | 0x40004
5 | MaxLoad | float | 0x40005
6 |  |  | 0x40006
7 | MaxLength | float | 0x40007
8 |  |  | 0x40008
9 | Breaking Sence | float | 0x40009
10
11 | Speed | int16 | 0x40011
12
Modbus Input Regs
Sr. No. | Name | Data Type | Address | Fuction Code =3 |  | Read Only
1 | LoadCellNumber | int16 | 0x30001
2 | Status | int16 | 0x30002 | 1 | Running | 2=Hold/Pause/Stop | 3=Reverse
3 | Weight | float | 0x30003
4 |  |  | 0x30004
5 | Peak | float | 0x30005
6 |  |  | 0x30006
7 | Length | float | 0x30007
8 |  |  | 0x30008
9 | Encoder/Extentiometer | 1 | 0x30009
Modbus Coils
Sr. No. | Name | Data Type | Address
1 | Start Test | bit | 0x00001 | Send coil 'ON' command to start test
2 | Stop Test
Fuction Code =1
|  |  |  | FF | Start
|  |  |  | 1 | On
|  |  |  | 0 | Off
|  |  |  | 2 | STOP
[8 empty] | Object type | Access | Size
[8 empty] | Coil | Read-write | 1 bit
[8 empty] | Discrete input | Read-only | 1 bit
[8 empty] | Input register | Read-only | 16 bits
[8 empty] | Holding register | Read-write | 16 bits